### MQ-2 Pinout Connection (Smoke/Flammable Gas)

The MQ-2 sensor follows the standard 4-pin configuration used by the other MQ-series sensors. Connect it to your microcontroller as follows:

- VCC: Connect to 5V.

- GND: Connect to GND.

- AOUT: Connect to an Analog Input Pin (e.g., A0) for continuous sensor data.

- DOUT: Connect to a Digital Input Pin (e.g., D2) for threshold-based alerts (use the onboard potentiometer to set the trigger level).

### Required Libraries

- MQUnifiedsensor: Use this library for calculating PPM values for gases like Hydrogen, LPG, Smoke, and Methane.

- Note: No library is required if you are only reading raw analog values (0–1023).

### Usage Tip

The MQ-2 is highly sensitive to heat and smoke. Ensure the sensor is placed in a well-ventilated area during initial calibration to establish a clean "zero" baseline.